Site Induction Checklist All persons must complete this induction before commencing work on site Doc No: G5-IND-003 ¦ Version: 1.0 ¦ Issue: May 2026

# INDUCTEE DETAILS

| Full Name |  |
| --- | --- |
| Company / Employer |  |
| Trade / Role |  |
| White Card Number |  |
| Date of Induction |  |
| Inducted By |  |
| Site Address |  |

# INDUCTION CHECKLIST

Place a ✓ in the checkbox as each item is covered with the inductee.

| ✓ | Induction Item |
| --- | --- |
| 1. SITE OVERVIEW |  |
| ☐ | Site rules and code of conduct explained |
| ☐ | Site map / layout shown — access/egress points identified |
| ☐ | Car parking and delivery areas explained |
| ☐ | Site hours of work and noise restrictions explained |
| ☐ | Alcohol and drug policy explained — zero tolerance on site |
| 2. EMERGENCY PROCEDURES |  |
| ☐ | Emergency contact numbers provided (000 + site contacts) |
| ☐ | Emergency evacuation procedure explained |
| ☐ | Muster point location identified |
| ☐ | First aid kit location shown |
| ☐ | First aid officer identified and contact provided |
| ☐ | Nearest hospital / medical centre provided |
| ☐ | Fire extinguisher locations shown |
| ☐ | Incident reporting procedure explained |
| 3. HEALTH & SAFETY REQUIREMENTS |  |
| ☐ | PPE requirements explained — hard hat, hi-vis, steel caps mandatory at all times |
| ☐ | SWMS requirements explained — must be in place before high-risk work |
| ☐ | Hazard reporting procedure explained — report to supervisor immediately |
| ☐ | Manual handling guidelines explained |
| ☐ | Sun protection requirements explained |
| ☐ | Housekeeping expectations explained — clean as you go |
| ☐ | No eating/drinking in work areas — designated areas shown |
| 4. SITE-SPECIFIC HAZARDS |  |
| ☐ | Known site hazards identified and pointed out |
| ☐ | Underground and overhead services locations explained |
| ☐ | Exclusion zones explained (crane, plant, overhead work) |
| ☐ | Adjacent property / public risk controls explained |
| ☐ | Any asbestos or hazardous materials on site identified |
| 5. PLANT & EQUIPMENT |  |
| ☐ | Plant and equipment operating in the area identified |
| ☐ | Traffic management plan explained — pedestrian vs. plant separation |
| ☐ | Requirements for operating plant/equipment (tickets/licences) |
| ☐ | Pre-start inspection requirements for plant explained |
| 6. ENVIRONMENTAL & COMPLIANCE |  |
| ☐ | Waste disposal and recycling procedures explained |
| ☐ | Erosion and sediment control measures explained |
| ☐ | Noise and dust management explained |
| ☐ | Smoking areas and policy explained |

# ACKNOWLEDGEMENT

I confirm that I have received, read (or had explained to me), and understood the above site induction. I agree to comply with all site rules, WHS requirements, and control measures outlined during this induction.

| Inductee Name | Inductee Signature | Date | Induction Conducted By |
| --- | --- | --- | --- |

This form must be retained on site for the duration of the project and for 5 years after project completion.